## Table 1
Energy efficiency measure | Savings shown | Notes | Number in sample | Median percentage saving | Mean percentage saving | Median saving (kWh) | Mean saving (kWh)
Condensing Boiler | Gas savings |  | 366710 | 3% | 1.9% | 400 | 400
Solid Wall Insulation | Gas savings |  | 3550 | 9.5% | 8.8% | 1200 | 1300
Cavity Wall Insulation | Gas savings |  | 4390 | 7.9% | 7.5% | 1000 | 1100
Loft Insulation | Gas savings | [note 1] | 3460 | 2.6% | 2.4% | 300 | 400
Solar PV | Electricity savings |  | 3950 | 12% | 8.7% | 300 | 300